Monthly  
Report

February2023

|  |  |
| --- | --- |
| **DCSiteName:NARRA1**  Customer:  CustomerID:  ReportID:DE-RPT-CUST-2023-xx | info@digitaledgedc.com  digitaledgedc.com |

DigitalEdgeMonthlyReport

Contents

[1. ExecutiveSummary 3](#_Toc137656971)

[**1.1. ServiceLevelAvailabilityAchievement\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ 3**](#_Toc137656972)

[2. TemperatureandRelativeHumidity 3](#_Toc137656973)

[3. IncidentReportSummary 4](#_Toc137656974)

[4. SiteAccessReport 5](#_Toc137656975)

[5. ShipmentReport 5](#_Toc137656976)

[6. RemoteHandsReport 6](#_Toc137656977)

[7. MaintenanceSchedule 7](#_Toc137656978)

[8. PowerUsage 8](#_Toc137656979)

[**8.1. SummaryofPowerUsagefortheMonth\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ 8**](#_Toc137656980)

# ExecutiveSummary

Duringthemonth,theServiceAvailabilityforallfacilityservicesfortheDataCenterisat100%.Therearenoincidentsreportedforthemonth.

## ServiceLevelAvailabilityAchievement

AllSLAsweremetforthemonthofxx2023.

Table-ServiceLevelAvailability

|  |  |  |
| --- | --- | --- |
| **ServiceLevelAgreement** | **TargetAvailability** | **AvailabilityAchieved(%)** |
| **Power** | 99.99%(NonRedundant) | 100.% |
| 100%(Redundant) |
| **Temperature(18°C–27°C)** | 99.99% | 100.% |
| **RelativeHumidity(30%-70%)** | 99.99% | 99.99% |

# TemperatureandRelativeHumidity

Thefollowingtableshowstheaveragetemperature,relativehumidity,andthetrendforDataHallxxx…

* TherecordedresultfortemperatureiswithintheSLA:18°C-27°C
* Therecordedresultforrelativehumidity(RH)iswithintheSLA:30%-70%

Table-MonthlyRecordsforTemperatureandRelativeHumidity

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **DataCenter-location** | | | | | | | | | | | | |
| **Monthin2023** | **Jan** | **Feb** | **Mar** | **Apr** | **May** | **Jun** | **Jul** | **Aug** | **Sep** | **Oct** | **Nov** | **Dec** |
| **Ave.Temp(°C)** | 25.09℃ | 25.09℃ | 25.05℃ |  | 25.09℃ |  | 25.09℃ | 25.09℃ |  |  | 25.09℃ | 25.09℃ |
| **Ave.Hum(%)** | 34.04% | 36.47% | 36.68% |  | 36.47% |  | 36.47% | 36.47% |  |  | 36.47% | 36.47% |
|  |  |  |  |  |  |  |  |  |  |  |  |  |

Figure-TrendLogforTemperatureandRelativeHumidity

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  | | --- | |  | |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |

# IncidentReportSummary

TheIncidentReportsummarywillcomprisedetailsofincidentsoccurredwithinthereportingmonththataffectstheperformanceofthePower,Temperature,RelativeHumidityandSecurityAccesstothecustomerleasedarea.

Belowisasummaryoftheincidentreportforthemonth.

Table-IncidentReportSummary

# SiteAccessReport

Thefollowingisasummaryofthesiteaccesstickets.Pleaserefertotheattachmentfordetails.

Table-SiteAccessTickets

# ShipmentReport

Thefollowingisasummaryoftheshippingtickets.Pleaserefertotheattachmentfordetails.

Table-ShipmentTicketsRequests

# RemoteHandsReport

Thefollowingisasummaryoftheshippingtickets.Pleaserefertotheattachmentfordetails

Table-RemoteHandServiceRequests

# MaintenanceSchedule

Thefollowingmaintenanceactivitieswereperformedforthemonthandplannedforthenext2months.

Table-ScheduleMaintenance

# PowerUsage

## SummaryofPowerUsagefortheMonth

Thefollowingisasummaryofthepowerusageforthesubscribedracks.

Table-RackinKVA&TotalPowerinKWh–DedicatedRPP/PDUs

|  |  |  |
| --- | --- | --- |
| **Customer** | **Description** |  |
| **TotalPowerUsageforCustomer:settle** | **PowerUsageTotal** | 19.01㎾ |
| **SubscribedPower** | 35.20㎾ |
| **RemainingPower** | 16.19㎾ |
| **Attachments:PowerReport** | | |
|  |